## PCR
18S mammal Block PCR, rev.20251204_public
Date
Name
samples
notes
General guidelines for molecular testing : https://www.jccls.org/wp-content/uploads/2022/03/ISO-15189-Application-Guidance-Document-for-Molecular-Genetic-Examination.pdf
for now, this test does not have the system to avoid carry over contamination, please follow the general guideline for molecular genetic examination.
KAPA-taq extra can be replaced with the other taq polymerase (Go-taq G2 HS, Takara Ex-taq HS, PlatinumII taq HS)
If you replace KAPA taq extra to Bio-taq HS, you should change the 1st denature cycles to 95 degC 10min.
protocol
■1st PCR
| PCR reaction |  | reaction number
|  | vol/rxn |  | 1 | 9 | 17 | 33 | 65 | 98
| x10 dye | 1.125 | 0 | 1.125 | 10.125 | 19.125 | 37.125 | 73.125 | 110.25
| 2xAmpDirect | 7.5 | 0 | 7.5 | 67.5 | 127.5 | 247.5 | 487.5 | 735
| *KAPA taq extra* | 0.075 | 0 | 0.075 | 0.675 | 1.275 | 2.475 | 4.875 | 7.35 | Replacement of KAPA taq Extra taq to Promega Go-taq G2 Hotstart Taq is tested in house.
| 5uM F566 | 0.9 | 0 | 0.9 | 8.1 | 15.3 | 29.7 | 58.5 | 88.2
| 5uM 1774R | 0.9 | 0 | 0.9 | 8.1 | 15.3 | 29.7 | 58.5 | 88.2
| 20uM B_MammalBlock | 1.5 | 0 | 1.5 | 13.5 | 25.5 | 49.5 | 97.5 | 147
| 50uM PNA | 1.5 | 0 | 1.5 | 13.5 | 25.5 | 49.5 | 97.5 | 147
| template | 1.5
| total | 15
Thermal Cycles
| 1st denature | 95℃ | 3min
| denature |  | 98℃ | 20sec
| PNA annealing |  | 75℃ | 15sec
| blocking primer annealing | 35 cycle | 63℃ | 15sec
| universal primer annealing |  | 55℃ | 15sec
| extension, 1.2-1.6kbp |  | 72℃ | 90sec
| final extension | 72℃ | 90sec
Gel electrophoresis, 2ul / lane
■ positive bands LESS than 32 --> 0.8x AmpureXP purification, Nanopore sequencing library prep with native barcoding kit
■ positive bands MORE than 32 --> dilute 1st PCR amplicon x50 by dDW. Index PCR to attach index sequence.
Optional for large scale screening,
■2nd index PCR
x=negative control
index PCR (optional) Every 50 samples can be included in the one index PCR run. | [10 empty] | index primer combination
|  | vol/rxn |  | 1 | 9 | 17 | 33 | 65 |  |  |  | R1 | R2 | R3 | R4 | R5 | R6 | R7 | R8
| x10 dye | 1.125 | 0 | 1.125 | 10.125 | 19.125 | 37.125 | 73.125 |  |  | F1 | x | 8 | 15 | 22 | 29 | 36 | 43 | 50
| 2xAmpDirect | 7.5 | 0 | 7.5 | 67.5 | 127.5 | 247.5 | 487.5 |  |  | F2 | 1 | x | 16 | 23 | 30 | 37 | 44 | x
| KAPA taq | 0.075 | 0 | 0.075 | 0.675 | 1.275 | 2.475 | 4.875 |  |  | F3 | 2 | 9 | x | 24 | 31 | 38 | 45 | x
| 5uM index F566 | 0.9 | 0 | 0.9 | 8.1 | 15.3 | 29.7 | 58.5 |  |  | F4 | 3 | 10 | 17 | x | 32 | 39 | 46 | x
| 5uM index 1774R | 0.9 | 0 | 0.9 | 8.1 | 15.3 | 29.7 | 58.5 |  |  | F5 | 4 | 11 | 18 | 25 | x | 40 | 47 | x
| dDW | 3 | 0 | 3 | 27 | 51 | 99 | 195 |  |  | F6 | 5 | 12 | 19 | 26 | 33 | x | 48 | x
[11 empty] | F7 | 6 | 13 | 20 | 27 | 34 | 41 | x | x
[11 empty] | F8 | 7 | 14 | 21 | 28 | 35 | 42 | 49 | x
| template | 1.5
| total | 15
Thermal Cycles
| 1st denature | 95℃ | 3min |  |  | Same thermal cycle will be used though mammal blocking primers are not included in the index pcr
| denature |  | 98℃ | 20sec
| PNA annealing |  | 75℃ | 15sec
| blocking primer annealing | 35 cycle | 63℃ | 15sec
| universal primer annealing |  | 55℃ | 15sec
| extension, 1.2-1.6kbp |  | 72℃ | 90sec
| final extension | 72℃ | 90sec
■positive bands in single index PCR run --> pooled in one tube with approximately DNA amount (based on the band intensity)
~20uL pooled samples will be purified by 0.8x AmpureXP, used for Nanopore sequencing library prep.
if the positive samples exceeds 50, different pool of index PCR will be barcoded with different barcodes.

## Nanopore
18S mammal Block post PCR sequencing
Date
Name
samples
notes
ONT official protocol
https://nanoporetech.com/document/ligation-sequencing-amplicons-native-barcoding-v14-sqk-nbd114-96
NBA_9170_v114_revR_03Oct2025
Reagents
This protocol is modified from the official protocol for quick preparation. Please validate the sequencing performance beforehand by yourself.
Customized protocol
required materials
|  | 85% EtOH | 200uL x sample number + 200uL + additional volume
Ampure XP purification of amplicon (x0.8 vol purification to remove short amplicons/primer dimers)
vol(uL)
|  | PCR product | 10
|  | Ampure XP | 8 | (ampure xp shoule be place at room temperature for at least 10min, mix well before use)
This Ampure XP to sample ratio is for selecting > 1kbp universal 18S rDNA amplicon products.
mix by pipetting well, incubate 5min at room temp, place on magnetic rack
remove sup,
add 100uL 85% EtOH, beads ppt should be as is.
remove sup,
add 100uL 85% EtOH, beads ppt should be as is.
remove sup,
dry up
remove tubes from magnetic racks
Add 15 uL dDW
mix by pipetting well, incubate 5min at room temp, place on magnetic rack
take DNA (sup) to new tube
Qubit dsDNA measurement
|  | sample ID | ng/uL | barcode number |  |  | copy and paste to sampleSheet.csv, save with UTF-8, alias should not have comma
|  | sampleXX |  | barcodeXX |  |  | alias,barcode
,
Endprep reaction
Endprep buffer needs to be thawed completely.
vol(uL)
|  | 50 fmol purified DNA | 12.5 |  |  | ~ 40ng of 1.2kbp
|  | Endprep buffer | 1.75 |  | buffer + enzyme can be prepared as master mix for all the samples.
|  | Endprep enzyme | 0.75
|  | total | 15uL
mix with pipetting on ice,
incubation as follows,
|  | 20℃ | 5min
|  | 65℃ | 5min
|  | ＜10℃ | hold
optional
if DNA amount of each sample is less than 40ng input --> purify endpreped product with x1.2 Ampure, and resuspend into 6uL dDW
if sample number less than 8, you can purify endpreped product with x1.2 Ampure, and resuspend into 6uL dDW
DNA input amount for native barcode ligation is ~ 2ng/sample for 8 multiplexed run.
around 10~20ng total DNA amount is required after pooling all the barcoded DNA product after next steps.
please adjuest required DNA amount, depending on the sample number you are working with.
Native barcode ligation
|  |  | vol(uL) |  | DNA amount is (10~20ng / sample number). If you work with 8 samples, 2ng/sample is sufficient.
|  | Endpreped DNA + DW | 4.5 |  | if you skip ampure purification after endprep, 0.75uL rxn + 3.75 uL dDW
|  | native barcode | 0.5
|  | 2x Blunt/TA ligation MM | 5
mix with pipetting on ice,
incubation as follows
|  | 20℃ | 10min |  | room temperature 20~30℃ is ok. 5min ~ 30min incubation is ok.
Add 1uL 0.,5M EDTA to each tube
mix well
Pooling and Ampure purification
pool all the barcode ligated product in one tube.
for 8 samples
vol(uL)
|  | pooled samples | 80
|  | Ampure XP | 96 | x1.2 | After the first purification, we just use x1.2 AmpureXP, to increase the recovery efficiency.
mix by pipetting well, incubate 5min at room temp, place on magnetic rack
remove sup,
add 100uL 85% EtOH, beads ppt should be as is.
remove sup,
add 100uL 85% EtOH, beads ppt should be as is.
remove sup,
dry up
remove tubes from magnetic racks
Add 12 uL dDW
Sequencing Adapter ligation
vol(uL)
|  | Purified barcode ligated DNA | 9.5
|  | Native adapter | 0.5
|  | 2x Blunt/TA ligation MM | 10 |  | different from the original protocol
mix with pipetting on ice,
incubation as follows
|  | 20℃ | 10min |  | room temperature 20~30℃ is ok. 5min ~ 30min incubation is ok.
Preparation for next step
Thaw following items,
Short fragment washing buffer (long fragment washing buffer if required)
Elution buffer
flow cell flush buffer
flow cell tether
sequencing buffer
library beads
Take flongle flow cell from 4℃.
incubate for > 10 min at room temp before open the package.
Setup MinION + flongle adapter
(if windows is used, please restart windows to make sure the MinKNOW is restarted properly.)
check the available pores of the flowcell.
plug-in MinION, put Flongle adapter in it, put flowcell in it.
MinKNOW -> flowcell QC
|  | flowcell id |  | [printed on flowcell]
available pores
Ampure enrichment of adapter ligated nanopore library
vol(uL)
|  | adapter ligated DNA | 20
|  | Ampure XP | 24 | x1.2 | After the first purification, we just use x1.2 AmpureXP, to increase the recovery efficiency.
mix by pipetting well, incubate 5min at room temp, place on magnetic rack
remove sup,
take tubes out from magnetic rack, add 70uL short fragment washing buffer, mix gently, place tubes at magnetic rack
|  | remove sup, |  |  | Instead of 100% Short Fragment washing buffer, we can use mixture of LFB:SFB = 2:1
take tubes out from magnetic rack, add 70uL short fragment washing buffer, mix gently, place tubes at magnetic rack
remove sup,
dry up
remove tubes from magnetic racks
Add 12 uL elution buffer
resuspend beads by pipetting gently
incubate at 37degC 10min
resuspend beads by pipetting gently completely
put tubes at magnetic rack
transfer eluted DNA library to new tube
use 1uL for dsDNA concentration measurement by Qubit
|  | Qubit dsDNA HS | _____ ng/uL
use upto 20fmol DNA for flongle sequencing
(~16ng for 1.2kbp amplicons)
Sequencing with Flongle flowcells
priming solution
|  | Flowcell flush buffer | 97.5uL
|  | Flowcell Tether | 2.5uL
|  | total | 100uL
library solution
|  | sequencing buffer | 15uL
|  | library beads | 10uL
|  | adapter ligated DNA + elution buffer | 5uL | [ upto 20fmol DNA]
|  | total | 30uL
open flongle sample port
add 100uL priming solution without introducing bubbles in the flowcell (small remaining priming buffer in the tip is ok)
setup sequencing run
24h run, if you use GPU available PC, live basecalling can be ON
live-basecalling will only be used for live-sequencing speed adjustment and glancing the barcoding results.
basecalling with SUP model is better to be called AFTER sequencing separately.
add 30uL library solution without introducing bubbles
[flongle protocol does not have waiting time after applying library solution, but 5-10 min waiting before start is ok]
start run
post sequencing analysis
basecalling
you need following information for your sequencing run
|  | seq kit | SQK-LSK114, SQK-NBD114.96 etc.
|  | flowcell type | FLO-FLG114, etc
SUP with standard GPU card ~ 12GB memory will basecall 200Mbps data in 30min.

## post sequence analysis
Primer sequence to be removed
F566 | CAGCAGCCGCGGTAATTCC
1774R | TACRGMWACCTTGTTACGAC
Basecall
dorado (minknow basecalling) , sup model, barcode trim off, pass filter = 10
Trimming
Optional
barcode trimming: porechop, (extra_end_trim -1 to keep the full primer sequence, debarcode again to double make sure the demultiplex)
primer trimming: cutadapt, above primer sequence from the end of the sequences, sequence without both primer can be discarded.
quality trimming: seqkit, avarage q value > 12 and length ranges between 1000-1800 will be kept
Quick analysis
EPI2ME:https://epi2me.nanoporetech.com/downloads/
Can be run with cleaned seq above, but can be run without cleaning.
16S rRNA (even if you work with 18S)
workflow parameter
| Key | Value
| fastq | /mnt/d/nanoporedata/20240913_UGM_MB_LTM_Bat/basecalling/pass
| classifier | kraken2
| max_len | 2000
| min_len | 1000
| min_read_qual | 10
| threads | 4
| taxonomic_rank | G
| database_set | SILVA_138_1
| kraken2_confidence | 0 | default 0 score may be too permissive
Detailed analysis
amplicon_sorter to retrieve consensus sequence(like ASV, OTU)from cleaned seq .
blast to annotate consensus_sequences